| Scope & User Requirements | PROJECT # | P00039 |
| --- | --- | --- |
|  | INITIATION DATE: | 14th Oct 2024 |
| PROJECT TITLE: | VERSION # | 3.0 |
| SMART BP PHASE 3 | EFFECTIVE DATE: |  |

Prepared By:

Javeria Farooq

# Scope

This project’s primary objective is to develop a Smart BP device for continuous real-time blood pressure monitoring, with an automatic infusion pump system that adjusts medication dosage based on the patient’s BP and sensitivity of treatment. The device utilizes advanced algorithms to detect and filter out inaccurate readings, ensuring reliable and precise readings and continuously monitors the patient’s response to the medication, adapting treatment as needed.

# User Requirements

Project requirements of the user are, as follows:

- The device should be able to frequently monitor blood pressure.

- It should detect any inaccurate readings to make sure the measurements are correct.

- Immediate alerts must be generated for critical situations e.g. low blood pressure, air in the tubing, enable timely interventions

- It should constantly check how the patient responds to medications, helping to adjust doses as needed.

- The device should automatically adjust medication dosages based on blood pressure readings.

- An intuitive interface for monitoring real time blood pressure reading and the medication dose flow rate must be present.